{"text_format":"2","workbook":"xls","n_sheets":5,"sheets":["Tray Layout","Well Locations","Tip Locations","Original Solution","Tip Disposal"],"not_rendered":{"charts":0,"images":0,"macros":0,"external_links":0,"defined_names":0,"comments":0,"pivot_tables":0},"unopened":[],"bounds":{"document_bytes":16777216,"sheet_cells":100000,"run_cost":"one","rows_first":2000,"rows_last":500,"rows_between":2000,"halvings":0,"cell_chars":16384,"cell_head_chars":4096},"cells_cut":0,"cells_raw":0,"read":"whole","date_system":"1900","formulas":"cached_only"}

{"sheet":"Tray Layout","index":0,"n_rows":13,"n_cols":9,"rows_kept":13,"cut":false,"hidden":false,"merged":[[12,3,12,5],[12,1,12,2],[2,0,7,0],[8,0,11,0],[1,1,1,2],[1,3,1,5],[2,1,7,2],[8,1,11,2],[2,3,3,5],[4,3,7,5],[8,3,11,5],[2,6,3,6],[4,6,7,6],[8,6,11,6]],"flags":["formulas_cached_only"]}
["Tray Layout"]
[null,"3.50\"",null,"5.00\"",{"$nulls":4},"Notes:"]
["5.0\"","Tips",null,"Tip Disposal",null,null,"1.50\"",null,"Above  the tip disposal is about 0.25\" free space "]
[{"$nulls":8},"Well and Tip sub-Trays already exist"]
[null,null,null,"Well Location 2",null,null,"3.50\"",null,"Original Solution sub-tray needs to be made"]
[{"$nulls":8},"Tip Disposal sub-tray needs to be made"]
[]
[]
["3.50\"","Original Solution",null,"Well Location 1",null,null,"3.50\""]
[]
[]
[]
[null,"3.50\"",null,"5.00\""]

{"sheet":"Well Locations","index":1,"n_rows":15,"n_cols":11,"rows_kept":15,"cut":false,"hidden":false,"merged":[],"flags":["formulas_cached_only"]}
["Well Locations"]
["Horizontal Distance (From Right Edge)",{"$nulls":7},"Vertical Distance (From Bottom Edge)"]
[null,6,5,4,3,2,1,null,null,"inches","mm"]
["inches",4.45,3.7,2.94,2.2,1.43,0.68,null,"A",2.8,71.11999999999999]
["mm",113.03,93.98,74.67599999999999,55.88,36.321999999999996,17.272000000000002,null,"B",2.05,52.06999999999999]
[{"$nulls":8},"C",1.3,33.019999999999996]
["Conversion Factor = 1 inch : 25.4 mm",{"$nulls":7},"D",0.56,14.224]
[]
["Diagram of Locations"]
[null,6,5,4,3,2,1]
[null,"O","O","O","O","O","O","A"]
[null,"O","O","O","O","O","O","B"]
[null,"O","O","O","O","O","O","C"]
[null,"O","O","O","O","O","O","D"]
[{"$nulls":7},"(0,0)"]

{"sheet":"Tip Locations","index":2,"n_rows":2,"n_cols":1,"rows_kept":2,"cut":false,"hidden":false,"merged":[],"flags":["formulas_cached_only"]}
["Tip Locations"]
["Needs to be measured still"]

{"sheet":"Original Solution","index":3,"n_rows":18,"n_cols":6,"rows_kept":18,"cut":false,"hidden":false,"merged":[[7,1,11,4],[12,1,16,4],[12,5,16,5],[7,5,11,5],[17,1,17,4]],"flags":["formulas_cached_only"]}
["Original Solution Sub-Tray"]
["Two Solution Containers"]
["Each holds 2.00\"x1.50\"x3.20\""]
["Outside Thickness of 0.15\" "]
["Divider Thickness of 0.20\""]
["Fillet on every inside edge of container"]
[]
[null,"Original Solution 2",null,null,null,"1.50\""]
[]
[]
[]
[]
[null,"Original Solution 1",null,null,null,"1.50\""]
[]
[]
[]
[]
[null,"3.20\""]

{"sheet":"Tip Disposal","index":4,"n_rows":2,"n_cols":1,"rows_kept":2,"cut":false,"hidden":false,"merged":[],"flags":["formulas_cached_only"]}
["Tip Disposal Sub-Tray"]
["Still needs to be decided"]