{"text_format":"2","workbook":"xls","n_sheets":1,"sheets":["Sheet1"],"not_rendered":{"charts":0,"images":0,"macros":0,"external_links":1,"defined_names":1,"comments":0,"pivot_tables":0},"unopened":[],"bounds":{"document_bytes":16777216,"sheet_cells":100000,"run_cost":"one","rows_first":2000,"rows_last":500,"rows_between":2000,"halvings":0,"cell_chars":16384,"cell_head_chars":4096},"cells_cut":0,"cells_raw":0,"read":"whole","date_system":"1900","formulas":"cached_only"}

{"sheet":"Sheet1","index":0,"n_rows":12,"n_cols":8,"rows_kept":12,"cut":false,"hidden":false,"merged":[],"flags":["formulas_cached_only"]}
[]
["Item","Seller","Part #","Price ","Quantity","Total price","Purpose","Web Link"]
[]
["Air Flow Sensor","Cole Parmer","EW-32658-29",847,4,3388,"Flow in both directions for both sides of the lung","http://www.coleparmer.com/catalog/product_view.asp?sku=3265829&pfx=EW"]
["Rigid HDPE Tubing (100 ft)","Cole Parmer","EW-95501-00",19.5,null,19.5,"Rigid tubing to connect to compression fittings","http://www.coleparmer.com/catalog/product_view.asp?sku=9550100&pfx=EW"]
["Compression to Threading Adapter (10 pk)","Cole Parmer","EW-06384-20",10.5,null,10.5,"Connect compression tubing to a threaded fitting","http://www.coleparmer.com/catalog/product_view.asp?sku=0638420&pfx=EW"]
["Threading to Barb Adapter (10 pk)","Cole Parmer","EW-30610-39",10,null,10,"Connect above threading connection to tube","http://www.coleparmer.com/catalog/product_view.asp?sku=3061039&pfx=EW"]
[]
["Check Valves","Smart Products","Series 300 Valves: #306 fittings on both ends; Ultem body material; Viton O-ring material",8,25,200,"Check Valves","http://www.smartproducts.com/check_valves_series_300_modular.php"]
["Panel Mount Connectors","Cole Parmer"]
[{"$nulls":5},1500]
["Elli's Pay"]