{"text_format":"2","workbook":"xls","n_sheets":3,"sheets":["Sheet1","Sheet2","Sheet3"],"not_rendered":{"charts":0,"images":0,"macros":0,"external_links":0,"defined_names":0,"comments":0,"pivot_tables":0},"unopened":[],"bounds":{"document_bytes":16777216,"sheet_cells":100000,"run_cost":"one","rows_first":2000,"rows_last":500,"rows_between":2000,"halvings":0,"cell_chars":16384,"cell_head_chars":4096},"cells_cut":0,"cells_raw":0,"read":"whole","date_system":"1900","formulas":"cached_only"}

{"sheet":"Sheet1","index":0,"n_rows":17,"n_cols":5,"rows_kept":17,"cut":false,"hidden":false,"merged":[],"flags":["formulas_cached_only"]}
["Part","Supplier","Quantity","Price","Description"]
["High Voltage Power Supply","Gamma High Voltage Research",1,null,"In our setup, we used Model ES30P-5W."]
["Syringe Pump","Braintree Scientific",1,1500,"In our setup, we used Model BS-9000-8. If you can find a cheaper pump or have one on hand, it's probably a good idea to use that one instead."]
["Mandrel Assembly"]
["Drawn Aluminum Bare Tube 6061 T6, OD 1\", Wall 0.095\", 1ft","Online Metals",1,7.81,"Mandrel tube"]
["Extruded Aluminum Bare Round Rod 6061 T6511, Diameter 1\", 1ft","Online Metals",1,4.96,"To machine for end caps"]
["Extruded Structural Aluminum Bare Angle 6061 T6, Leg 1  2\", Leg 2 2\", Wall 0.1875\", 1ft","Online Metals",1,4.51,"Brackets to mount the mandrel and motor on"]
["SCE45 Needle Bearing ¼” X 7/16” X 5/16”","Amazon",1,3.95,"We used this bearing because we had one lying around; it is not at all necessary to use this one specifically."]
["9VDC Micro Super High Speed Motor","RadioShack",1,3.99,"Note: This motor is listed as an example of what you could use; the motor we used in our mandrel was lying around in our lab."]
["#4-40 Set Screws",null,4,null,"To secure the motor to its end plug"]
["Enclosure"]
["24\" x 24\" x 0.25\" HDPE sheet",null,3,null,"Walls of the enclosure"]
["White Polyethylene angle bracket","McMaster-Carr",16,4.48,"A much cheaper and easier way to support the walls of the enclosure than using Teflon bar stock. http://www.mcmaster.com/#angle-brackets/=dchx98"]
["Plastic u-channels, 1/4\" inner width, 2ft",null,2,null,"Channels for the door of the enclosure"]
["24\" x 24\" x 0.25\" Polycarbonate sheet",null,1,null,"Door of the enclosure"]
["Package of #8-32 Nylon socket cap screws, 5/8\" long","McMaster-Carr",1,5.69]
["Package of #8-32 Nylon plastic hex nuts","McMaster-Carr",1,5.67]

{"sheet":"Sheet2","index":1,"n_rows":0,"n_cols":0,"rows_kept":0,"cut":false,"hidden":false,"merged":[],"flags":["formulas_cached_only"]}

{"sheet":"Sheet3","index":2,"n_rows":0,"n_cols":0,"rows_kept":0,"cut":false,"hidden":false,"merged":[],"flags":["formulas_cached_only"]}