| Task | Xantas | Hamilton Starlet | Eppendorf epmotion 5070 |
| --- | --- | --- | --- |
| Liquid Pumping | Micro-annular Gear | Air Pressure | Air Pressure |
| Water Level Sensing | capacitance | Capacitance + Pressure | Optical confocal infrared detector: |
| X | 408 | 675 | 650 |
| Y | 344 | 465 | 480 |
| Z | 146 | 195 | 630 |
| Number of Plates | 12 | 25 | 4 |
| Channels | 1 | 8 | 8 |
| Position Error | 0.2 | 0.1 | 0.3 |
| Tip Attachment | ? | Compressed O-Ring expansion | ? |
| Notes | Does not define precision | Extensive Error Detection | By far the most accurate |
|  |  |  | Size given is total size. |
|  |  |  | Usable area is significantly less. |
| All lengths in mm |  |  |  |
| Extra Features |  |  |  |
| Microplate Handling Tool | Optional | Optional - O-Ring connection | Optional |
| Barcode Scanner | Optional | Optional | Standard |
| Microplate Shaker | Optional | 3rd Party Device | ? |
| Microplate Vacuum Station | Optional | Optional | ? |
| Temperature Control | Optional | 3rd Party Device | Optional |